## Metadata
name | Description | type | isAbout |  | valueReference |  |  | unit
|  |  | name | path | value | name | path
temp_amb | Ambient temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
rel_hum | Relative humidity | Number | relative humidity |  | relative humidity | relative humidity |  | [%]
p_amb | Ambient temperature | Number | pressure | http://openenergy-platform.org/ontology/oeo/OEO_00010454 | pressure | pressure | http://openenergy-platform.org/ontology/oeo/OEO_00010454 | [Pa]
q_sol_diff | Diffuse solar radiation | Number | solar radiation | https://openenergyplatform.org/ontology/oeo/OEO_00010393/ | solar radiation | solar radiation | https://openenergyplatform.org/ontology/oeo/OEO_00020038/ | [W/m²]
hor_wind_dir | Horizontal wind direction | Number | wind direction | http://purl.obolibrary.org/obo/UO_0000185 | wind direction | wind direction | http://purl.obolibrary.org/obo/UO_0000185 | [°]
hor_wind_speed | Horizontal wind speed | Number | wind velocity | http://purl.obolibrary.org/obo/UO_0000094 | wind velocity | wind velocity | http://purl.obolibrary.org/obo/UO_0000060 | [m/s]
temp_sup_hp_sec | Secondary loop supply temperature of heat pump | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_ret_hp_sec | Secondary loop return temperature of heat pump | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
flw_hp_sec | Secondary loop volume flow rate of heat pump | Number | volumetric flow rate | http://purl.obolibrary.org/obo/UO_0000270 | water flow rate | volumetric flow rate | http://purl.obolibrary.org/obo/UO_0000270 | [m³/h]
rho_fluid_sec | Secondary loop fluid density | Number | density | http://purl.obolibrary.org/obo/UO_0000052 | density | density | http://purl.obolibrary.org/obo/UO_0000052 | [kg/m³]
p_hp | Electricity consumption of heat pump | Number | power | https://openenergyplatform.org/ontology/oeo/OEO_00000333/ | power | power | https://openenergyplatform.org/ontology/oeo/OEO_00000333/ | [W]
temp_kitchen | Kitchen temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_corridor | Corridor temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_bathroom | Bath temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_room1 | Room 1 temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_room2 | Room 2 temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_room3 | Room 3 temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_room4 | Room 4 temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_room5 | Room 5 temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_kitchen | Kitchen setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_corridor | Corridor setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_bathroom | Bath setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_room1 | Room 1 setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_room2 | Room 2 setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_room3 | Room 3 setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_room4 | Room 4 setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_set_room5 | Room 5 setpoint temperature | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe1_1m | U-probe 1 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe1_5m | U-probe 1 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe1_10m | U-probe 1 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe1_27m | U-probe 1 temperature at 27m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe1_37m | U-probe 1 temperature at 37m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe2_1m | U-probe 2 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe2_5m | U-probe 2 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe2_10m | U-probe 2 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe2_27m | U-probe 2 temperature at 27m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe2_37m | U-probe 2 temperature at 37m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe3_1m | U-probe 3 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe3_5m | U-probe 3 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe3_10m | U-probe 3 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe3_27m | U-probe 3 temperature at 18m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_uprobe3_37m | U-probe 3 temperature at 27m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level1_1m | Water level monitor 1 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level1_5m | Water level monitor 1 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level1_10m | Water level monitor 1 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level2_1m | Water level monitor 2 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level2_5m | Water level monitor 2 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level2_10m | Water level monitor 2 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level3_1m | Water level monitor 3 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level3_5m | Water level monitor 3 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level3_10m | Water level monitor 3 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_sprobe1_1m | Spiral probe temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_sprobe1_10m | Spiral probe temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_sprobe1_18m | Spiral probe temperature at 18m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level4_1m | Water level monitor 4 temperature at 1m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level4_5m | Water level monitor 4 temperature at 5m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level4_10m | Water level monitor 4 temperature at 10m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]
temp_water_level4_18m | Water level monitor 4 temperature at 18m depth | Number | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | temperture | temperture | http://openenergy-platform.org/ontology/oeo/OEO_00010453 | [°C]

## authors
Name | Surname | Email
Erfan | Tajalli-Ardekani | erfan.tajalli-ardekani@kit.edu
Stefan | Dietze | stefan.dietze@kit.edu
Tobias | Moser | tobias.moser@kit.edu
Abdulrahman | Seddiqi | abdulrahman.seddiqi@kit.edu
Malte | Holzhaeuer | malte.holzhaeuer@kit.edu
Mohamed Anis | Koubaa | mohamed.koubaa@kit.edu
Luigi | Spatafora | luigi.spatafora@kit.edu
Simon | Waczowicz | simon.waczowicz@kit.edu
Wolfgang | Süß | wolfgang.suess@kit.edu
Veit | Hagenmeyer | veit.hagenmeyer@kit.edu